ALG vs Biliary Atresia Differential Diagnosis GUI Tool: User Manual for Scientific Publication

1. Tool Overview

Name: ALG Syndrome vs Biliary Atresia Transfer Learning Differential Diagnosis Tool

Purpose: This web-based application utilizes transfer learning technology to assist clinicians in differentiating between Alagille Syndrome (ALG) and Biliary Atresia (BA) in infants with cholestatic jaundice. The tool employs a neural network model initialized with Random Forest feature importance for enhanced diagnostic accuracy.

Target Users: Pediatric hepatologists, pediatricians, clinical researchers, and medical trainees involved in the diagnosis and management of neonatal cholestasis.

Clinical Context: This tool is designed for infants presenting with cholestatic jaundice, where distinguishing between ALG Syndrome and BA is clinically critical but challenging.

2. Technical Specifications

2.1 System Requirements

- Operating System: Windows 10/11, macOS 10.15+, Ubuntu 18.04+

- Python Version: 3.7 or higher

- Memory: Minimum 4 GB RAM

- Storage: 500 MB available space

- Browser: Chrome 90+, Firefox 88+, Safari 14+

2.2 Software Dependencies

text

flask>=2.0.0

torch>=1.9.0

scikit-learn>=0.24.0

joblib>=1.0.0

numpy>=1.19.0

pandas>=1.2.0

3. Installation and Setup

3.1 Model Training

- Place the following files in a common directory:

  - train1.py (modified version with ALG/BA parameters)

  - app1.py (GUI application)

  - ALG_nonscaled.csv (training dataset)

- Install required packages:

bash

pip install flask torch scikit-learn joblib numpy pandas

- Train the transfer learning model:

bash

python train1.py

- Verify generated model files:

  - alg_ba_transfer_model.pth (main transfer learning model)

  - alg_ba_scaler.pkl (data normalization scaler)

  - alg_ba_rf_model.pkl (base Random Forest model)

3.2 Application Launch

bash

python app1.py

Access the application at: http://localhost:5000

4. Clinical Parameters and Input Specifications

4.1 Binary Features (0 or 1)

| Parameter | Clinical Definition | Input Format |
| --- | --- | --- |
| Acholic Stools | Presence of pale, clay-colored stools | 0 = Absent, 1 = Present |
| Abnormal Gallbladder Morphology | Ultrasound finding of gallbladder abnormalities | 0 = Normal, 1 = Abnormal |
| Glisson Sheath Thickening | Imaging finding of peri-portal thickening | 0 = Absent, 1 = Present |

4.2 Continuous Features

| Parameter | Units | Typical Range | Allowed Input Range |
| --- | --- | --- | --- |
| Length | cm | 1.5-3.4 cm (based on study cohort) | 0-10 cm |
| LSM (Liver Stiffness Measurement) | kPa | 3-5.5 kPa | 0-50 kPa |
| GGT (Gamma-glutamyl Transferase) | U/L | 0-178 U/L | 0-5000 U/L |

5. User Workflow

Step 1: Data Entry

Navigate to the input interface and enter raw clinical values:

- For binary features: Enter 0 (negative) or 1 (positive)

- For continuous features: Enter measured laboratory/imaging values

- Ensure all six parameters are completed

Step 2: Analysis Execution

Click "Run Transfer Learning Differential Diagnosis" to initiate the AI analysis.

Step 3: Results Interpretation

The system provides three levels of diagnostic probability:

Risk Stratification:

- Low ALG Probability (<30%): Higher probability of Biliary Atresia

- Moderate Probability (30-70%): Indeterminate, requires further investigation

- High ALG Probability (≥70%): Higher probability of ALG Syndrome

Output Components:

- Diagnosis Classification: Risk category badge with color coding

- Probability Visualization: Dual probability bars for ALG vs BA

- Risk Scale: Position indicator on a continuous risk spectrum

- Clinical Recommendations: Specific management suggestions based on risk level

6. Model Architecture and Performance

6.1 Technical Implementation

- Model Type: Transfer Learning Neural Network

- Base Model: Random Forest with 1000 estimators

- Neural Network Architecture: 6-64-32-1 layers with ReLU activation and dropout (0.3)

- Training Data: ALG_nonscaled.csv with standardized clinical parameters

6.2 Performance Metrics

(To be completed with specific values from model training)

- AUC: [Value] (95% CI: [Lower]-[Upper])

- Sensitivity: [Value]

- Specificity: [Value]

- Accuracy: [Value]

- F1-Score: [Value]

7. Clinical Validation and Limitations

7.1 Validation Cohort

The model was trained and validated on [N] infants with confirmed diagnoses:

- ALG Syndrome cases

- [Y] Biliary Atresia cases

- Age range: [Specify] days/months

7.2 Important Limitations

- Non-Diagnostic Tool: This application provides probability estimates only and should not be used as a definitive diagnostic tool.

- Clinical Integration: Results must be interpreted in conjunction with complete clinical assessment, imaging studies, and expert consultation.

- Population Specificity: Validated only for infants within the specified age range and clinical presentation.

- Data Quality: Accuracy depends on precise input of clinical parameters.

8. Ethical Considerations and Disclaimer

8.1 Intended Use

This tool is intended solely for:

- Research purposes

- Educational applications

- Clinical decision support (not replacement)

8.2 Critical Disclaimer

"THIS AI-POWERED TOOL IS NOT A DIAGNOSTIC INSTRUMENT. FINAL DIAGNOSIS REQUIRES COMPREHENSIVE CLINICAL EVALUATION, SPECIALIZED IMAGING STUDIES, AND, WHERE APPROPRIATE, GENETIC TESTING OR SURGICAL EXPLORATION."

9. Technical Support and Contact

For technical issues, model performance questions, or research collaborations, contact:

- [Corresponding Author Name and Contact Information]

- Institution: [Institutional Affiliation]

10. Citation and Acknowledgments

When using this tool for research or publication, please cite:
[Author(s). (Year). Title. Journal, Volume(Issue), Pages. DOI]

Acknowledgments: This research was supported by [Funding Sources]. The transfer learning model was developed using PyTorch and scikit-learn libraries.

Quick Reference

Access URL: http://localhost:5000
Required Files: app1.py, alg_ba_transfer_model.pth, alg_ba_scaler.pkl
Input Parameters: 6 clinical features (3 binary, 3 continuous)
Output: Risk stratification with probability estimates and clinical recommendations